## Slide 1: A study of Scotland’s international competitiveness in the energy systems sector
Final report
July 2016
Contact:
michael.brown@delta-ee.com
andrew.turton@delta-ee.com
sean.duddy@delta-ee.com

## Slide 2: Contents
Executive Summary………………..………………………………………………………………………………………3
Introduction and methodology………………………..…………………………………………………………………6
  Introduction
  Methodology overview
Review of Scottish capability………………………………………………………………………………………….…8
  Identification of key sub sectors
  Sub sector profile cards
  Gap analysis
  Summary of capability
International market analysis………………………………….…………………………………………….…………..19
  Profiling of international markets
  Shortlisted country score cards
  Summary of international market opportunities and ratings
Conclusions………………………………….…………………………………………………………..…….………….. 37
  Conclusions
Annexes……………………………………………………………….…………………………………………….…….…39
  Mapping of Scottish energy systems capability

## Slide 3: Executive Summary (1) – identifying Scottish capability
This study provides an insight to Scotland's international competitiveness in the Energy Systems sector
The term “Energy Systems” includes all elements of infrastructure and services associated with the transmission and distribution of electricity, gas (including hydrogen) and heat. The focus of this study is particularly on the capabilities and services which facilitate the integration, interoperability or enhancement of these networks through the introduction of new or improved technologies, services, or operational and commercial models.
For the benefit of clarity, demand side measures (focussed only after the customer’s meter) and supply side systems are excluded from this work. Offshore energy systems infrastructure capability directly related to offshore gas and oil exploration is also excluded.
Profiling of over 170 companies identified by Delta-ee, using our own in-house resources and research provided by Scottish Enterprise and others, was used to allocate energy systems expertise to one or more energy systems sub sectors. As a result of the mapping exercise, there were 128 companies shortlisted which were considered to have energy system expertise. From there, four areas were identified where there appears to be specific clustering of expertise in Scotland:
Cluster 1: Consultancy features highly in all the analysis and the capability around knowledge provision appears to be the strongest sub-sector. Energy systems consultancy is a highly diverse cluster with many sub-clusters. Examples include advisory services in respect of energy system market analysis, energy grid infrastructure design, power electronics, power supplies and microgrid development. We have identified around 10-15 companies with significant Power Electronics capability and which have their HQ in Scotland.
Cluster 2: ICT / Digital includes three sub-sectors: ICT, digital platforms, and sensors, controls, and security. The ICT / Digital cluster covers businesses which offer products or services involving any form of communication system that is used to design, develop or operate energy systems, together with systems sensors and controls. We have identified around 10-15 companies with varying degrees of ICT / digital capability and which have their HQ in Scotland.
Cluster 3: Engineering services feature strongly in the analysis. This covers capabilities around the planning, management and delivery of construction and O&M of energy systems infrastructure. We estimate that there are 5-10 companies with significant capability which have their HQ in Scotland.
Cluster 4: Power electronics has the third highest overall count of activity and features strongly across companies active in product development. Power electronics is the application of solid-state electronics to the control and conversion of electric power, from low levels for portable power to multi-gigawatt power for high-voltage energy transmission. We have identified around 15 companies with a HQ in Scotland with significant capability.
The sub sector analysis can be shown as a capability map, with green showing areas of more activity, and red as less activity.
Electricity is the dominant energy system vector with 95% of companies identified being active in this area, followed by gas at 60%. There is relatively little activity in heat energy systems.
The majority of companies are Tier 3 (the weakest level of capability, providing a broad range of expertise but less focussed), and once these are removed, the capability in energy systems is relatively small with fewer than 20 Tier 1 companies in total. For such a broad sector as ‘energy systems’, it is no surprise that there is little depth to Scottish capability.
The lack of current export activity combined with low levels of overall capability means that focussing on the niches of strength, identifying markets and supporting exports is the prime focus.
Level of capability

## Slide 4: Executive Summary (2) – the world’s most attractive markets
Shortlisting of countries used a range of metrics to select France, Germany, USA, Canada, Japan, Singapore, China, and India.
Weighted metrics describe economic factors, attractiveness for trading, current and future energy and infrastructure requirements, and evidence of smart network activity. The focus is on technical indicators which demonstrate the need for significant network investment and smart or integrated infrastructure.
The nebulous nature of energy systems means that few specific indicators are available which describe the need for investment and qualitative input was used to cover data gaps and produce the short list
Country summaries | 
France | France has been identified as the joint top attractive market for Scottish business alongside Germany. France provides an attractive market with existing strong links for Scottish export, and an open commercial market for B2B sales, with French companies also active in the UK. The infrastructure market is dominated by the broken up national players and market potential will strongly depend on success in dealing with these companies. Market opportunity is largely in the electricity sector with challenges posed by increased renewables generation and EV penetration requiring smart innovation
Germany | Germany holds joint first equal position as the world’s most attractive global market for energy systems expansion and investment opportunity, based on our multi-criteria analysis. The country faces important challenges in all vectors, electricity (most notably), gas and district heating, in large part due to its transformational Energiewende, or ‘energy transition’. This involves aggressive renewables expansion and nuclear power station closure.
United States | The United States offers the 3rd most attractive global market based on the multi-criteria analysis, and has the second largest investment potential after China. Smart network development in the electricity sector, and expansion and efficiency improvement in the gas network sector are the key targets for Scottish capability. The market is fragmented with a large number of operators, and has drivers which vary significantly by State. Achieving market share will require locally focussed activity and in depth analysis of certain sectors within specific States and regions.
China | China is the world’s largest market for electricity infrastructure development and smart grid technologies. Investment needs for gas and DH networks are also very high. Specific opportunities exist in microgrids, super high voltage networks and DH efficiency and optimisation systems. There are, however, relatively high barriers to market entry. Exporters therefore face multiple, but not insurmountable, challenges.
Japan | Japan has been identified as the 5th most attractive market for energy infrastructure based on the multi-criteria analysis. The country is currently undergoing significant changes though market liberalisation, aimed at improving resilience, reducing CO2 emissions, and encouraging a competitive supply market. There are existing trading links between Scotland and Japan, but entering the Japanese market will require local presence and long term investment. Key focus areas are around network efficiency and smart grids, and in facilitating the industry with the transition and opportunities presented by a liberalised market.
India | India has 18% of the world’s population but uses only 6% of the world’s primary energy. Energy demand, and thus opportunities, are surging - consumption has doubled since 2000 and will likely do so again within 20-25 years. The key feature of the electricity system is its dysfunctional performance – frequent outages and system failures, which are daily in many States.
Canada | The key feature of the power system is its aging but extensive infrastructure and, as in the US, high exposure to damaging climate events. Substantial investment is required particularly in Alberta and Ontario. A surge in intermittent renewables is now likely in some provinces, also leading to growing system challenges. Gas networks are expanding rapidly based on the country’s role as a producer, but district heat is not widely deployed.
Singapore | A tiny city state where the power grid works well but demand continues to grow rapidly. The key emerging challenge is the integration of growing amounts of distributed PV installations. Overall, the opportunity for Scottish exporters is likely to be relatively low here given the small size of the overall market.

## Slide 5: Executive Summary (3) – our main conclusions
This report indicates that there is a limited energy systems capability in Scotland, but there are likely extensive potential international opportunities where new markets could be exploited to help growth in this industry.
The overall level of activity in energy systems is small and the four clusters identified represent the key areas
The four clusters mainly support the hi-tech elements of energy systems, providing skills and systems for the development of smart networks and the interoperability of networks. These are sectors that are less developed globally and innovative offerings from Scottish players could meet the needs of foreign markets.
Some of the more traditional energy systems offerings, representing the majority of capability, may also have export potential, but are likely to meet greater competition from incumbents in foreign markets.
We have identified what will likely be the top global market opportunities for Scotland.
The shortlisted countries (France, Germany, USA, Canada, Japan, Singapore, China, India), present a range of market opportunities and drivers. Key factors promoting market opportunities are growth in energy demand, changing sources of energy (in particular a shift from flexible fossil generation to intermittent renewable generation), increased system resilience / security, and improved efficiency. Most or all of these factors are present in all the shortlisted countries.
The opportunities around network reinforcement / expansion are more suited to the “traditional” capabilities in Engineering Services and Power Electronics clusters. It is likely that there will be incumbent competition in these and specific niche areas of capability will need to be exploited, such as Scotland's expertise in the testing and integration of renewable generation technologies.
Opportunities around emerging smart grids are mostly evident where there is an identified need associated with trial projects. This often means that there is already local competition, although the global market is in its infancy and there will be clear opportunities for Scottish businesses, either through commercial projects or innovation / trial schemes. Links to international companies (particularly tier 2 & tier 3 companies) with a presence in Scotland or the UK could be one route to exploit, such as the French multinationals, or technology and consultancy companies such as Cisco or Honeywell.
Transitions in energy market structures presents a key opportunity and Japan is a prime example where de-regulation combined with high efficiency requirements will promote a large amount of activity in the development of market mechanisms, smart grids and the use of data and smart systems to maximise efficiency.
Entering global markets will be challenging and require careful focus
In general, the markets with sufficient potential have high incumbent energy systems industry and capability. But there will be niches or competitive advantages (which we have highlighted in the main report) for some companies.
There are a wide range of routes to market, depending on the trading / business environment and culture, the structure of the industry, and regional variations within countries. In general, there are a number of multinationals working across many of the countries and engaging with these may provide a suitable route into a wider range of markets, although country level barriers are likely to remain.
It is likely that entering any of the markets successfully will require a high degree of investment over time, local presence and deep market knowledge – all opportunities for SDI support.

## Slide 6
Executive Summary………………..………………………………………………………………………………………3
Introduction and methodology………………………..…………………………………………………………………6
  Introduction
  Methodology overview
Review of Scottish capability………………………………………………………………………………………….…8
  Identification of key sub sectors
  Sub sector profile cards
  Gap analysis
  Summary of capability
International market analysis………………………………….…………………………………………….…………..19
  Profiling of international markets
  Shortlisted country score cards
  Summary of international market opportunities and ratings
Conclusions………………………………….…………………………………………………………..…….………….. 37
  Conclusions
Annexes……………………………………………………………….…………………………………………….…….…39
  Mapping of Scottish energy systems capability

## Slide 7: Introduction and methodology
Scottish capability is mapped to a series of sub-sectors for more in-depth analysis
The current Scottish capability across industry, research and testing has been mapped to a series of sub-sectors to understand the profile of activity, and to identify any particular “hot spots” of expertise and capability.
This profiling allows analysis of global markets to focus on the technical areas where Scotland could provide leading edge expertise and develop its global markets in the energy systems sector.
Global market profiling is used to identify which markets could provide potential for Scottish capability, and what the needs of the market are
Multi-criteria analysis has been used to develop a shortlist of countries for in-depth market analysis. A range of criteria are used which help identify both the need for energy systems development, and also the wider suitability of the countries in terms of ease of trading and market potential.
In depth analysis of the shortlisted countries then provides information about the detailed technical needs for each country, an assessment of the potential market size and routes to market, and a measure of the ease of trading through examining the ease of doing business and local competition.
This study provides an insight to Scotland's international competitiveness in the Energy Systems sector
The term “Energy Systems” includes all elements of infrastructure and services associated with the transmission and distribution of electricity, gas (including hydrogen) and heat. The focus of this study is particularly on the capabilities and services which facilitate the integration, interoperability or enhancement of these networks through the introduction of new or improved technologies, services, or operational and commercial models.
For the benefit of clarity, demand side measures (focussed only after the customer’s meter) and supply side systems are excluded from this work. Offshore energy systems infrastructure capability directly related to offshore gas and oil exploration is also excluded.

## Slide 8: Review of Scottish Capability (contents slide)
Executive Summary………………..………………………………………………………………………………………3
Introduction and methodology………………………..…………………………………………………………………6
  Introduction
  Methodology overview
Review of Scottish capability………………………………………………………………………………………….…8
  Identification of key sub sectors
  Sub sector profile cards
  Gap analysis
  Summary of capability
International market analysis………………………………….…………………………………………….…………..19
  Profiling of international markets
  Shortlisted country score cards
  Summary of international market opportunities and ratings
Conclusions………………………………….…………………………………………………………..…….………….. 37
  Conclusions
Annexes……………………………………………………………….…………………………………………….…….…39
  Mapping of Scottish energy systems capability

## Slide 9: Characterising Scottish capability in energy systems
Sector activity in energy systems can be described as a product or a service
This provides a useful delineation which can be used to help define the type of activity
Products are a tangible asset which are produced as the result of a research and development process, and can be manufactured (hardware of software). The Product lifecycle has a number of stages from research / development through to operation (end of life is not considered in this study). Products can generally be assigned to an energy vector or ‘energy system’, although may apply to multiple systems.
Services are activities which can facilitate the development or operation of products as part of a system. This may be direct (for example a design service) or indirect (for example a market analysis service).
There is sometimes a cross over between the two categories – this is typically the case where a company is responsible for the installation and operation of part of an energy system.
Scottish expertise is split into 11 categories based on Scottish Enterprises analysis and can be broadly categorised as a product or service (further details are provided in the annexes):
For the purpose of this study, ‘energy systems’ can be broken down into three broad categories
Energy systems are characterised as Electricity, Gas, or Heat (including cooling) systems. These include all the components and services required to transport the energy from the point of generation to individual customers.
Other forms of associated infrastructure which supports the primary networks (for example digital network systems) are assumed to be part of one of the three primary systems since they facilitate the delivery of the energy.
All infrastructure associated with electric vehicles are assumed to be part of the electricity energy system and are considered a sub-set.
All infrastructure associated with hydrogen networks in this work is assumed to be part of the gas energy system. Whilst specific skills and capabilities are required, the primary energy vector is gas and there are many synergies in the sectors.
The energy systems do not include any elements of energy exploration, generation, or conversion, and do not include any demand side management or efficiency measures (for example, building energy management systems). For clarity, energy storage is included as part of an energy system.
Sub-sectors: Products | Sub-sectors: Services
Power electronics Digital platforms Energy storage Product design / development / manufacture Information and communications technology (ICT) Sensors / controls / security | Consultancy Engineering services Project development (commercial, business development?) Data analytics Network ancillary services

## Slide 10: Profiling Scottish expertise in Energy Systems (1)
Profiling of over 170 companies identified by Delta-ee, using in-house resources and research provided by Scottish Enterprise used to allocate energy systems expertise to one or more sub sectors
128 companies were shortlisted with others removed due to no clear energy systems activity, or being supply or demand side.
The sector activity of the remaining companies was counted and profiled using a capability map (below) with green representing high levels of activity and red low levels of activity. Many companies are active across multiple sub sectors.
The profiling database allows characterisation against a range of variables (further details provided in the Annex).
Key sub sectors
Consultancy is the most common activity, suggesting that a large parts of Scottish capability is in providing knowledge which can support the development of energy systems. This consultancy could be active over a number of other sub-sectors, but highlights the nature of the activity.
Product design, development and manufacture is the second most common activity. As for consultancy, this could be activity across a number of other sectors, but demonstrates that there is a strong capability in developing products which can support the delivery of energy systems.
The next defined sub sectors (ICT, digital platforms, and sensors, control, and security) suggest that the main focus areas of activity are in the area of controls and communications. These are products which are central to the development of smart and integrated energy systems.
Key energy systems
Electricity is the dominant energy system with 95% of companies identified being active in this area. Much of the current commercial activity is focussed on development of the electricity system, driven by the significant activity within the electricity sector associated with the transition from centralised to decentralised generation, issues around capacity and supply, and opportunities for smart operation, including storage.
Gas is the second most common sector with 60% of companies providing services. Consultancy, and engineering services are the strongest sub-sectors, and build in the basis of Scotland's expertise in gas an oil exploration and associated services. The focus appears to be more conventional and around infrastructure development and delivery.
Heat has the lowest level of activity at 36% of companies, with most activity in consultancy and some in project development. There is no clear evidence that Scotland has particular strengths in the heat infrastructure energy system, and the majority of companies associated with heat are also active in the gas and electricity energy systems.
Only three companies were identified with electric vehicle infrastructure activity with a focus on storage as part of a wider sector offering. No commercial activity was identified within the hydrogen infrastructure energy system although many of the sub sectors could potentially be applied.

## Slide 11: Profiling Scottish expertise in Energy Systems – types of activity (2)
Level of activity
High - Med - Low -
 | Research (academic) | Product development | Projects | Consultancy
Heat | No activity was identified in the field of heat for academic research. | All companies developing products in the heat sector are active in all three energy systems. Activity is mostly in . The strongest capability lies in ICT, sensors, controls and security, and digital platforms. No evidence of specific heat systems strength. | All companies are Tier 3, active in other energy systems, and provide project support as part of a wider set of skills. No evidence of specific heat systems strength. | Consultancy represents the main sector of activity in the heat sector, but is overall a small part of Scottish capability. Companies offering consultancy also provide project development, engineering services, data analytics and ICT.
Gas | Only two instances of activity were found in the academic research activities in the field of gas. Both of these are focused on understanding how existing gas systems can be made more resilient and adapt to climate change. | Capability within the gas vector is marginally stronger than heat with more companies operating. There is however, only one company (Online Electronics) specialising in in gas, with all other companies also operating in the electricity, and sometimes vector. | Companies operating in the gas vector providing project development expertise also operate in the heat and electricity sectors. Skills are typically based around engineering services, legal and finance, and project management. | Consultancy represents around 15% of overall capability in the gas sector, a significant proportion. Nearly half of all companies offering consultancy can advise on gas. Similar to heat Companies offering consultancy also provide project development, engineering services and ICT.
Electricity | The vast majority of expertise in the academic research and development energy systems capability is in the electricity vector, with most activity focused on data analytics and modeling. There is a small amount of activity also in digital platforms and power electronics. | In the electricity vector Scotland has strengths across sensors/controls/security, power electronics, digital platforms, ICT and storage. The total count of capability for electricity is double that of both gas and heat and indicates this is a core strength for Scotland. | There are a small number of specialists working only within the electricity system alongside others who work across 2 and 3 systems. Skills are typically based around engineering services, legal and finance, and project management. | Consultancy is around 25% of activity in electricity systems with almost all consultancy companies having expertise in electricity systems.. Companies who offer consultancy also have significant capability in ICT, project development, engineering services, digital platforms, sensors/controls/security and network ancillary services.
Product development is an important area of expertise. Of the 5 companies operating across all vectors, Helixion Ltd, Kyria Ltd and Laplace Electrical Limited are all micro sized companies operating with their HQ in Scotland. Che EVC Ltd, Internet for Business, High Voltage Design Ltd, and Supply Design Ltd are also small Scottish companies operating in the electricity vector and are at present, are considered priority companies by Scottish Enterprise. There are only four Tier 1* companies headquartered in Scotland (A2E ltd, Flexitricity, Soft Edge Technologies, and Tantallon) and the vast majority of companies working with products are considered to be tier 3 in their activity with no companies identified as being tier 2. *(please see page 42 for an explanation of Tiers)
Nearly half of all companies in the dataset were identified as providing consultancy, making this Scotland’s strongest capability. Nearly half of all companies operate in only one vector (almost always electricity), and many of these have their HQ in Scotland, implying that Scotland has a strong specialist strength. Most large companies (e.g Parsons Brinckerhoff) have their HQ located outside of Scotland, however smaller companies (Elimpus Ltd, Environmental Energy Controls, Amber Programmable Design, Smarter Grid Solutions) have strong capability in this sector and have their HQ located in Scotland.
Service orientated
Product orientated

## Slide 12: Profiling Scottish expertise in Energy Systems – types of activity (3)
Consultancy
Consultancy is the most common activity across the sample, suggesting that a large parts of Scottish capability is in providing knowledge which can support the development of energy systems.
Consultancy is strongest in engineering services, project development, ICT, digital platforms and sensors/controls/security.
Over half of consultancy companies have HQs located in Scotland, with engineering services and ICT being well represented.
Most consultancy services are in the “small” category (some with a stronger / Tier1/2 focus) followed by the “large” category (predominantly large internationals, and often multidisciplinary). The majority are classed Tier 3.
Projects
Many companies are active in developing energy systems projects. This is through the provision of other supporting services such as consultancy, engineering services, etc.
Just over half of companies active in project development have HQs based in Scotland.
Profiling suggests that the companies are either very focussed, or fairly general with most being either in Tier 1 or Tier 3, and either micro / small, or large. There is very little activity in Tier 2 or from medium sized companies
Products
Many companies are active in developing specific products with most activity in sensors/controls/security, digital platforms, ICT, and power electronics. This suggests that a large part of Scottish capability with producing products is in the hi-tech area providing the types of products which are well suited to providing systems to assist with the integration and interoperability of networks, and enabling smart grid capability.
The majority of companies in this category are classed as small and around three quarters have HQs based in Scotland.

## Slide 13: Four shortlisted clusters are identified
Four areas have been identified where there appears to be specific clustering of expertise in Scotland:
Cluster 1 - Consultancy
Consultancy features highly in all the analysis and the capability around knowledge provision appears to be the strongest sub-sector in energy systems.
The majority of consultancy companies are active in the electricity sector, but many also apply skills in the gas sector.
The key areas are around the design and engineering of specific schemes (also active in the engineering services and project development sub sectors), followed by ICT, digital platforms and sensors/controls/security. Data analytics also features strongly.
Cluster 2: ICT / Digital
This cluster includes three sub-sectors: ICT, digital platforms, and sensors, controls, and security. These are grouped into a single cluster due to the synergies between the types of activity, and the company profiling showing that many companies are active across all three. In many cases, it can be difficult to distinguish between the different sub sectors when assessing company capability.
The skills in this cluster are ideally focussed at supporting smart systems which can support the interoperability and flexible operation of energy systems.
There are strong cross-overs with this cluster and some of the other short-listed clusters, such as consultancy.
Cluster 3: Engineering services
Engineering services feature strongly in the analysis. These companies are providing mix of traditional “hard” engineering (for example supporting energy infrastructure and operation though construction, installation, and maintenance) and soft engineering (for example operating digital based engineering services and data management).
Engineering services are potentially areas of expertise which other countries may already have in place for the operation of their existing energy systems, and therefore export of Scottish capability will need to exploit niches where Scottish expertise has a competitive advantage.
Cluster 4: Power Electronics
Power electronics has the third highest overall count of activity and features strongly across companies active in product development.
Power electronics also features strongly in the profiling of Scottish infrastructure (predominantly testing facilities) activity (see annexes for profiling).
Whilst some of the activity in this sector could be viewed as ‘traditional’ power electronics engineering and there is likely to be incumbent competition in other markets, more specialised activity around the testing and integration of low carbon generation systems could have a competitive advantage in markets with less advanced levels of renewable generation.
The following section provides a more detailed assessment of each cluster.
A list of companies for each cluster who have HQs based in Scotland is provided in the accompanying spreadsheet.

## Slide 14
Delta-ee view: [Note: for each of the 4 clusters described in this section, most of the companies profiled operate across more than one cluster]
Energy systems consultancy is a highly diverse cluster with many sub-clusters. Examples include advisory services in respect of energy system market analysis, energy grid infrastructure design, power electronics, power supplies and microgrid development.
We have identified 68 companies active in the consultancy sector, of which around 30-40 have significant capabilities and HQs in Scotland
Scotland’s competitive position is moderate-to-weak
Consultancy
Consultancy – principal Scottish capabilities
The main sub-cluster appears to be services relating to the planning, feasibility and development of electric grid infrastructure, especially relating to the connection of renewable power projects.
Other, much smaller, sub-clusters cover multiple services including global market analysis, advice on power supply solutions and energy data analytics – plus numerous others.
Profile 1: Natural Power - Stirling
Natural Power provides consultancy services that support grid and infrastructure projects from feasibility, through to development and construction to the operational phase.
It offers onshore / offshore grid services including connections, power systems & system protection.
It has 12 offices worldwide (one of very few Scottish companies with this) eg USA and France.
Profile 2: Open Grid Systems - Glasgow
OGS provides software and consultancy services to the electricity industry. These include data management, information modelling and power system network analysis software.
OGS works with utilities, consultants etc to support data integration using open standards.
Its client tools include Cimphony, a power system data management and analysis application.
Profile 3: Bellrock Technology - Glasgow
Bellrock provides utilities with consultancy services relating to the design, implementation and delivery of live analytics applications for a range of industry problems. The company is a spinout from the University of Strathclyde/
Its Lumen software provides remote and intelligent fault prediction and asset management capability.
Scotland’s competitive position:
Scottish capability in this cluster is characterised by around 10-15 small to medium-sized pure consultancies that offer one or more of many different types of service. Capability is relatively thinly spread across the sub-clusters, and we would provisionally highlight only two areas: electric grid infrastructure associated with renewable projects; and data analytics.
We have found another 30-40 companies that have been described as offering such services but either do not offer services to the energy industry - or that do but not falling within the definition of energy systems. Overall therefore, it appears that Scotland’s competitive position here is moderate-to-weak.
Glasgow
Stirling

## Slide 15
Delta-ee view:
The ICT / Digital cluster covers businesses which offer products or services involving any form of communication system that is used to design, develop or operate energy systems, together with systems sensors and controls.
We identified 56 companies active in the ICT/Digital sector, of which around 10-15 have varying degrees of capability and HQs in Scotland.
Scotland’s competitive position is moderate-to-weak
ICT / Digital
ICT / Digital – principal Scottish capabilities
The development of software and other services that enable ‘smart’, automated control of networks and of power generating systems, eg wind turbines.
Remote monitoring / control systems to manage the charging of heating systems in buildings.
The development of aggregated demand-side services for system balancing, frequency control, etc.
Profile 1: Boston Networks - Glasgow
Boston Networks designs / installs ‘smart’ building systems. It includes including energy management services alongside wider fixed / wireless networks and security solutions.
Its energy management offerings include energy cost reduction, remote management, asset monitoring and visibility on energy use.
Profile 2: Energy Assets – Livingston
Energy Assets provides AMR capability to measure, collate and communicate half hourly gas demand data. EA also provides design & construction services for gas networks, from site surveys to metering.
EA was acquired by US based Alinda Funds, an infrastructure investment company, in April 2016.
Profile 3: Flexitricity – Edinburgh (owned by Alpiq, Switzerland)
Flexitricity’s provides remote management and operation of electricity demand side resources. This includes STOR (Short-term Operating Reserve), frequency response, triad management, capacity market services and CHP plants. In April 2016, it issued invitations to join its DR network.
Flexitricity was acquired by the Swiss based energy services company, Alpiq, in 2014.
Scotland’s competitive position:
Scottish capability in this cluster is characterised by around 10-15 small and medium-sized companies that offer ICT / digital services, either as a core business or as a smaller part of a wider offering. The main capability, as shown by the examples, is linked more to the customer-end of energy systems.
We have found another 5-10 companies that are classified as providing an ICT / Digital offering, but have no or little apparent presence in the energy sector, but where there may be capability to do so. Examples include network security and IT recovery services.
Overall therefore, it appears that Scotland’s competitive position here is moderate-to-weak.
Glasgow
Edinburgh
Livingston

## Slide 16
Delta-ee view:
Engineering services cover capabilities around the planning, management and delivery of construction and O&M of energy systems infrastructure.
We identified 24 companies active in the engineering services sector, of which around 5-10 have significant capability and HQs in Scotland.
Scotland’s competitive position is weak
Engineering Services
Engineering services – principal Scottish capabilities
Services around the installation of remote control and monitoring systems for renewable energy production.
Installation and operation of network and energy management systems for commercial buildings and communities.
Profile 1: Energetics - Glasgow
Energetics develops, installs and manages multi utility connections for its clients, which include industrial, commercial and residential clients.
It has over 100,000 such connections completed, including electricity, gas, water and telecoms.
Energetics is also licenced to own and operate the energy networks that it has built for clients.
Profile 2: Laplace Energy Solutions - Glasgow
Laplace provides control automation solutions, building and energy management systems, and controls for the renewable energy sector.
For example, it specialises in the design, installation and commissioning of energy management control systems for wind farms and energy distribution networks.
Profile 3: Elimpus – Bellshill
Elimpus provides products and engineering services in the fields of condition monitoring and reporting, enabling T&D utilities to monitor their assets.
Its systems are integrated with a real-time communications platform, which can notify users of partial discharge activity at remote sites via its web portal.
Scotland’s competitive position:
Scottish capability in this cluster consists of around 5+ small and medium-sized companies that offer engineering services, either as their main business or as a smaller part of their wider offerings.
There are a further 5-10 companies that have been classified as providing an engineering service offering, but generally have closer linkages with the energy production or demand sides, rather than energy systems. Overall therefore, it appears that Scotland’s competitive position here is weak.
Glasgow
Bellshill

## Slide 17
Delta-ee view:
Power electronics is the application of solid-state electronics to the control and conversion of electric power, from low levels for portable power to multi-gigawatt power for high-voltage energy transmission.
We have identified 22 companies active in the power electronics sector, of which around 15 have significant capabilities and HQs in Scotland.
A cluster with relatively low Scottish business presence, but with a strong academic reputation
Power Electronics
Power electronics – principal Scottish capabilities
These include:
The manufacture of switchgear, transformers, products for active network management and related power distribution & control equipment, including circuit protection.
Consultancies providing electrical engineering, system design and cable jointing services.
Profile 1: Smarter Grid Solutions - Glasgow
SGS provides products for active network management and consulting services for distributed energy and network networks.
Its principal clients are electricity network companies, mainly in the UK but also the US; they include SP Energy Networks and conEdison.
Profile 2: Instrument Transformers – East Kilbride
Instrument Transformers designs and manufactures LV current transformers for electricity utilities, switchgear and generator manufacturers. It serves the renewable and infrastructure sectors alongside commercial and industrial facilities.
ITL also provides advisory services, for example identifying optimised solutions for projects.
Profile 3: BAE Systems - Dunfermline
This part of the wider BAE Systems group provides manufacturing services for complex electronic systems. It serves several sectors, including renewable energy and energy infrastructure & resilience.
Its services to the energy systems market is a small part of the overall business activities, which also includes defence.
Scotland’s competitive position:
Scottish business capability is characterised by around 15 medium-sized companies offering both products and services, a small number of which are currently exporting strongly. Most of this group serve the needs of traditional power systems, far fewer the emerging needs of future energy systems. Scotland is therefore a relatively small player in this global market-place.
A clear exception to this is Scotland’s academic capability. The laboratories at the University of Strathclyde are part of the £47m European Twenties project, involving 26 partners across Europe to assess the benefits of HVDC networks.
Glasgow
East Kilbride
Dunfermline

## Slide 18
Delta-ee view:
Overall, Scottish energy systems capability appears thinly spread, with a few pockets of strength, for example, in power electronics and ICT/Digital. However, even within the strongest clusters, there are areas not well represented and the heat vector is almost absent.
One finding of our research was how few exporters there are at a time of surging global demand.
Gap analysis - summary
Key gaps from our cluster analysis
The capability map (right) summarises our analysis of the number of Scotland-based companies by cluster (eg power electronics, engineering services etc) and by vector (eg electricity, gas, heat). We have selected all companies headquartered in Scotland which are classified as Tiers 1 or 2.
It is clear that, once the Tier 3 companies are removed, the overall number of companies reduces greatly from around 120 to fewer than 20 companies. For such a broad sector as ‘energy systems’, it is no surprise that there is little depth to Scottish capability.
Among the vectors, electricity and gas predominate, with heat comprising only a small handful.
The four weakest sub sectors, representing the most obvious gaps in capability, are: Project Development, Network Ancillary Services, Product Design & Manufacture and Data Analytics.
Sub-sector strengths and gaps within our highlighted clusters
Power electronics. Scottish capability is mainly based on the provision of products and services focussed on meeting the needs of traditional power transmission and distribution systems, far fewer on the emerging needs of emerging ‘smart’ systems.
ICT / digital. Capability is fairly thinly spread with the main focus clearly around ICT linked to applications towards the customer-end of the chain (eg remote meter reading, energy management systems), and much less to upstream and midstream (eg management of generation and transmission assets).
Consultancy. This diffuse cluster is most strongly represented by services around grid infrastructure for renewables projects and data analytics, and only weakly (or not at all) elsewhere, especially in the gas and heat vectors.
Engineering services. Capability in this cluster is thinly spread across multiple sub-sectors as described on p.16. Two areas of stronger representation are around remote monitoring systems for renewable energy production and the operation of network management systems for communities. The main gap is likely to be for services linked to the construction of infrastructure.
Potential investment needs:
Overall we have found that the capability gaps are numerous and the degree of international business already taking place is small. Subject to a deeper understanding of existing SE priorities, it may make most sense to focus on areas of core strength and target these with strong export sales support.
HQ in Scotland
Tier 1 & 2

## Slide 19: International market analysis (contents slide)
Executive Summary………………..………………………………………………………………………………………3
Introduction and methodology………………………..…………………………………………………………………6
  Introduction
  Methodology overview
Review of Scottish capability………………………………………………………………………………………….…8
  Identification of key sub sectors
  Sub sector profile cards
  Gap analysis
  Summary of capability
International market analysis………………………………….…………………………………………….…………..19
  Profiling of international markets
  Shortlisted country score cards
  Summary of international market opportunities and ratings
Conclusions………………………………….…………………………………………………………..…….………….. 37
  Conclusions
Annexes……………………………………………………………….…………………………………………….…….…39
  Mapping of Scottish energy systems capability

## Slide 20: Profiling of international markets and shortlisting of countries
Shortlisting of countries takes into account many metrics
Metrics describe economic factors, attractiveness for trading, current and future energy and infrastructure requirements, and evidence of smart network activity
Weighting used to identify key factors. The focus is on technical indicators which demonstrate the need for significant network investment and smart or integrated infrastructure.
The nebulous nature of energy systems means that few specific indicators are available which describe the need for investment
Qualitative input used to cover data gaps and produce short list
Metric | Data sources | Weight (1-5)
GDP total | World Bank | 3
SDI office presence | SDI | 3
Ease of doing business | World Bank | 3
Current market export | Scottish Export Statistics – Global Connections Survey | 3
Energy prices – industrial electricity | DECC / IEA | 1
Energy prices –industrial gas | DECC / IEA | 1
Renewable generation capacity | IEA Electricity statistics | 4
Reserve margin for electricity generation | IEA Electricity statistics | 4
Electricity demand | EIA global statistics | 2
Gas demand | EIA global statistics | 2
District heating output | Euroheat and Power | 2
Future infrastructure investment | IEA – World Energy Investment Outlook | 3
Energy demand growth | IEA – World Energy Outlook | 5
Smart network activity | CIRED conference papers – country of origination EU – Govt. RTD expenditure EU JRC – Smart grid budgets EU JRC – Smart metering roll out | 2
Load growth | European Heat Pump Association market analysis International Council on Clean Transportation projections | 5
Shortlisted countries | Typical characteristics
France | Historic infrastructure requiring upgrading combined with transition to smarter systems for integration for increased renewable generation
Germany | 
United States | 
Canada | 
Japan | Drivers around energy costs and capacity constraints. High energy growth in Singapore.
Singapore | 
China | Significant investment in new infrastructure resulting from economic growth.
India | 

## Slide 21: France (1)
Delta-ee view:
France has been identified as the joint first most attractive market for Scottish business alongside Germany. France provides an attractive market with existing strong links for Scottish export, and an open commercial market for B2B sales, with French companies also active in the UK
The infrastructure market is dominated by the broken up national players and market potential will strongly depend on dealing with these companies
Market potential is largely in the electricity sector with challenges posed by increased renewables generation and EV penetration requiring smart innovation
Market drivers
Overview
  The French energy market was liberalised in 2000 and regulated by the Commission de Régulation de l’énergie for electricity and gas. Despite privatisation, the privatised large companies still dominate the industry and the Government retains a large stake.
  The Energy Transition Law (2015) sets out objectives for reducing primary energy consumption and emissions, and increasing renewable generation of electricity to 40% by 2030.
  Policy & regulatory environment
  Electricity: The electricity market comprises the national transmission operator (RTO) and a number of distribution network operators (DNOs), dominated by Enedis (previously ERDF). Both RTO and Enedis are owned by EDF the previously nationalised company. Other smaller DNOs operate at a regional level with a small overall market share. Key challenges for the electricity network are increased intermittent renewable generation from wind (onshore and offshore) and the reduction in nuclear generation capacity.
  Gas: The gas network is similarly split between the national transmission operators (predominantly GRTgaz), and distributors (predominantly GRDF). A key challenge is the increased importing of LNG and the associated distribution and storage requirements.
  Heat networks: Around 6% of heat is supplied via heat networks and the development of further heat networks and capture of low carbon and waste heat is promoted in the energy transition law. France is currently promoting the development of low carbon heat networks through a combination of subsidies, tax incentives, and regulation.
  Infrastructure requirements
  Electricity networks: Increased intermittent wind generation and reduced nuclear generation through a cap on nuclear capacity and targets for reduced nuclear generation (to 50% by 2025) are placing increased resilience demands on the electricity network stimulating interest in smart demand management. The shift in generation to the north (offshore wind) with increased loads in the south is requiring reinforcement of the transmission network. France has historically invested heavily in its networks with Paris having a new network during the 1980s.
  Natural gas: France predominantly imports gas through both pipeline interconnects and LNG. Security of supply means that increasing storage is currently a priority. Another focus is in improving cross border interconnects, and on the transmission linkages between north and south which are currently heavily constrained.
  Heat networks: There is an increased interest in heat networks although overall investment is likely to be low in relation to gas and electricity.
Scottish export capability and experience
Moderate to high in some sectors
Electricity
Power electronics capability from companies such as BAE and Instrument Transformed could contribute to network replacement and expansion, including connectivity with low carbon generation.
ICT and digital capability will be important in the smart network transition, with potential for ICT providers (eg Boston Networks), consultancy skills (eg Open Grid Systems), and service providers (e.g Flexitricity). Data analytics is also likely to be a target sector to support business offerings and efficiency.
Gas
Scotland has strong expertise in gas infrastructure which could be applied to some of the reconfiguration of the French transmission system. Companies such as Energy Assets could provide a range of engineering and monitoring services. Expansion of the network could provide opportunities for companies such as Energetics.
Heat, Hydrogen, and EVs
Limited capability identified in Scotland, and therefore limited export potential
Ease of doing business
France rates highly as an export market presenting few obstacles to trade. As such, it is already Scotland’s 3rd largest market for goods and services
France is 27th in the global EODB rankings and scores highly for cross border trade. .
France is currently Scotland's 3rd biggest export market (around £2.1 bn pa) and has the additional benefit of being an EU Member State, with all its consequent benefits. For example, goods manufactured in the UK are exempt from import duties.
French energy infrastructure companies are active in the UK and could provide route into the French market for Scottish companies.
Overall, we see no major challenges, of the ‘trade barrier’ variety, to the rapid expansion of energy systems products and services export to France.

## Slide 22: France (2)
Competitive environment
  The French energy systems market has some large established companies from the break up of nationalised players into subsidiaries, with EDF still having overall control of the electricity systems (with RTE and Enedis) being under their ownership, and GRTgaz and GRDF both being in the ownership of Engie. Whilst there are a number of smaller distribution companies, and TIGF also active in the gas transmission system, any major export in infrastructure will need to deal with the primary players.
  There are many global companies active in France in energy systems and smart networks including examples of Alcatel-Lucent, ABB, and Itron. Scottish companies should therefore explore wider links with global corporations to find entry points into the French market. France is a strong history of working collaboratively though R&D and B2B and these routes should be explored.
  France appears to have a strong capability in supporting smart infrastructure, with organisations such as Smartgrids France bringing together ICT and digital companies active in the smart grids area. The Think SmartGrids association has over 80 French members and is targeting the French market (assessed at €3bn and another €3bn in export to support French industry.
Economic growth and energy demand
Economic: France has exhibited low growth and high unemployment for a number of years. However the OECD expects growth to increase to ~ 1.5% as the global economy improves and legislation changes promote productivity in France.
Energy: Gas consumption has fallen by 16% since 2010 due to recession and increased efficiency. Projected consumption growth is around 10% by 2030, but a further reduction could also be possible. Electricity consumption is expected to rise with the further electrification of heat and transportation. Enedis is budgeting for the provision of 2m EVs requiring charging by 2020.
Strategic transmission projects are planned for north-south reinforcement, cross border connections, and additional capacity for LNG ports. Recent expenditure is around €700m p.a and it is expected this level will be maintained for the coming years.
Electricity
Gas
Smart infrastructure
Estimates for investment in electricity transmission are €1.5 bn p.a including €200m in ICT and tertiary equipment for controls and monitoring. Around €900m is required for new network development (over 50% in substations) and €400m in refurbishment (source – RTE). Investment in the transmission system is important for wider European network resilience due to the extensive interconnects between France and other countries for export of nuclear generated electricity.
Enedis are currently investing over €3bn p.a in the distribution system. A major challenge for the distribution system is the integration of electric vehicles (estimated at 2m by 2020), and Enedis expects to invest €2.4bn by 2020 in making upgrades to allow installation of charging infrastructure (source – Enedis).
General
Total investment in energy transmission and distribution systems is estimated at around €90 bn by 2035 based on IEA infrastructure investment forecasts for Europe.
Market size and opportunity.
RTE is nearing the end of a €100m R&D roadmap investigating the opportunities for smart systems in the transmission network, with a strong focus on increasing flexibility for the integration of high levels of renewable generation and increased electrification of heat.
Enedis has recently started the roll out of its Linky smart meter which uses powerline carrier communications. 10% of the €4.5bn project is budgeted for data management. Smart metering will be used to find potential solutions to a number of distribution issues such as constraints on LV networks due to local generation and electric vehicle uptake.
The Think SmartGrids association has estimated the smart grids market for France at around €3bn p.a.
€90 bn investment by 2035
€1.5bn investment in transmission, and over €3bn p.a in distribution systems.
€700m p.a investment in transmission network
€3bn p.a market in smart networks investment and services

## Slide 23: Germany (1)
Delta-ee view:
Germany holds joint first position as the world’s most attractive global market for energy systems expansion and investment opportunity, based on our multi-criteria analysis.
The country faces important challenges in all vectors, electricity (most notably), gas and district heating, in large part due to its transformational Energiewende, or ‘energy transition’. This involves aggressive renewables expansion and nuclear power station closure.
Market drivers
Overview
  The Energiewende is based on a strategy of moving away from nuclear electricity following the Fukushima disaster.
  The shift to renewables is causing crisis within the fossil power generating sector – low wholesale values are causing gas and coal plants to cut production and change operation.
  Key policy goals now include substantial cuts in carbon emissions and nuclear closure by 2022.
  Policy & regulatory environment
  General: The Energiewende is a federal level policy which is having transformational impacts on the country’s energy systems, and with significant delegation to State level implementation.
  Electricity: On the demand side, one of the main goals is to largely electrify both heat and transport. On the production side, there continues to be strong growth in the share of generation from intermittent renewables brought online - with a target of 80% of all electricity generated by renewables in 2050. Overall: a substantial system balancing challenge.
  Gas: Natural gas has been identified as a ‘transitionary fuel’ with a core role of providing dispatchable capacity (likely to be >80 GW) for winter evening peaks. Power-to-gas and an expanding biomethane market (100 TWh/a target by 2030) have been identified as new gas sources. The gas grid is likely already well equipped to handle this.
  Heat networks: Germany is easily Europe’s largest producer of district heat (~32 TWh in 2014). DH is supported by the “Energetische Stadtquartiere”, while the national strategy for DH is promoted through the newly-reformed ‘CHP Law (2016)’.
  Infrastructure requirements
  Electricity networks: Supported by the Grid Expansion Acceleration Act of 2011 (NABEG) and driven by the fast growing challenge of system balancing, there is already an accelerating programme of new infrastructure and ‘intelligent network’ projects.
  Natural gas: Natural gas in the energy mix is already declining. The change on the role of the networks is as conduits for low/zero carbon gases rather than new infrastructure. Further investment in gas infrastructure is likely to be small to modest.
  Heat networks: The future role of DH in efficient energy system management and control will be high. In addition, with the likely partial electrification of the networks with large-scale heat pumps, there will be a need for lower temperature, ‘fourth generation’ networks.
Relevant Scottish export capability and experience
Moderate to high in some sectors
Electricity
Investment needs in electric network infrastructure refurbishment and modernisation will likely be significantly higher in Germany than any other European country. All aspects of energy system capability will be required at scale.
These will include digital communications / platforms, sensors, monitoring and system security. Continuing national focus on energy efficiency will likely require expertise in more efficiency power transport and conversion (creating possible opportunities for power electronics expertise).
Data analytics is already playing a role, although (as in the UK) it is still nascent. This can be applied to system efficiency improvements and demand response needs.
Gas and hydrogen
We have not identified a high demand for gas system investment in Germany. The power-to-gas plans indicate a potential role for hydrogen, but this is possible rather than probable.
Heat networks and EVs
The scale, role and needs of DH networks in energy system management will increase strongly.
We expect all European countries to have slowly expanding markets for EVs and accompanying infrastructure.
Ease of doing business
  Delta-ee regard Germany as a relatively easy place for Scottish companies to do business.
  This is in large part due to both countries (for now) being members of the EU.
  For example, the country is viewed as one where the legal system is robust and the ability to enforce contracts is high.
  However, foreign companies can find it difficult to compete with German incumbents operating in the same field since customers tend to favour domestic suppliers..

## Slide 24: Germany (2)
Competitive environment
  Overall, while investment needs are very high, German technical capability in energy systems is high. Climate and energy policies are, in part, designed to reinforce a globally competitive capability. Gaps remain, but with emerging development and education strategies (e.g Digital Germany) even these may be filled in time.
  For example, Germany is the home to hundreds of companies and institutes with relevant product, service, technical and manufacturing capability. Siemens and Fraunhofer (the internationally renowned research institute), both of which are global leaders in energy systems offerings, are located there.
  The various national industry associations that cover the energy systems space give an indication of the competitive environment. For example, the VDE e.V (Association for Electrical, Electronic and Information Technologies) is one of Europe's largest technical-scientific associations and has over 35,000 members. Its activities include technical research and the funding of training programmes.
  A target customer group for Scottish companies would be the Stadtwerke, small but essential municipal utilities companies of which there are over 1,400. Certain Stadtwerke, such as MVV-Energie in Mannheim, may be of particular interest than others, offering services for PV and district heating..
Economic growth and energy demand
Economic: GDP growth expectations are modest – the European commission is forecasting a year on year rise of around 1.7% until 2017. Beyond that, the OECD long-term forecast are slightly less than this.
Energy: While overall energy demand will remain level, or may even fall, due to the modest economic growth and growing efficiency, electricity demand is likely to grow significantly based on heating and transport trends. For example, while Germany’s share of European energy demand will fall, mainly due to the Energiewende, its electricity demand share will grow.
  It is unlikely that there will be anything like the same needs for gas grid investment as for electricity. Gas in the energy mix is projected to decline, and the current infrastructure will cope with the >80 GW needed for back up in the winter evenings. In actuality, wholesale power prices are now so low on the power exchange that investments in additional gas generating capacity is nowhere near profitable, presenting risks to the challenge of meeting peaks in the future. There is even risk the gas grid will be under-utilised.
Electricity
Gas
Smart infrastructure
Estimates for investment in electricity transmission and distribution infrastructure do vary widely. The Federal Ministry for Economic Affairs and Energy estimated in 2014 that grid expansion out to 2050 could cost in the range €29 - €40 billion pa. For example, investment in the grid will be required for connecting offshore windfarms, distributing electricity where it is needed (i.e north to south, from where the wind blows to the industry is located in the south) and for efficient and effective demand response systems.
General
The Energiewende represents Germany’s largest post-war infrastructure project. Analysis by Fraunhofer ISE estimate that overall cost for the Energiewende is expected to be around €7,000 - €8,000 billion. Of this, more than €1,000 billion is accounted for by energy system investment needs, mainly in electricity infrastructure.
Market size and opportunity.
The "Digital Germany 2015" ICT strategy developed by the Federal Ministry of Economic Affairs and Energy (BMWI) forms the overarching framework for the country's ICT policy; combining clear targets with specific measures in the fields of ICT and new media.
The BMWI has determined that ICT is the only way to efficiently integrate the growing share of mostly intermittent renewable energies and increasing decentralised production into the network. The objective is to create an integrated data and energy network with new structures and functionalities.
The BMWI also expects that the implementation of ‘smart’ systems will cut the network investment needs by half, to the levels highlighted above.
More than €1,000 bn of total investment required by 2050
Between €29 and €40 billion pa investment for grid expansion and modernisation
Up to €8.5bn to roll out smart meters by 2022
The main challenge is the future role of the gas grid rather than new investment and modernisation

## Slide 25: United States (1)
Delta-ee view:
The United States offers the 3rd most attractive global market based on the multi-criteria analysis, and has the second largest investment potential after China
Smart network development in the Electricity sector, and expansion and efficiency improvement in the gas network sector are the key targets for Scottish capability
US market is fragmented with a large number of operators, and has drivers which vary by State, and has local competition. Achieving a strong market share will require focussed activity and in depth analysis of certain sectors within specific states and regions.
Market drivers
Overview
  The US presents a vast market for energy systems but has a complex set of drivers which often vary by state due to geographic factors or legislation interpretation.
  Policy & regulatory environment
  General: The Federal Energy Regulatory Commission, or FERC, is an independent agency that regulates the interstate transmission of electricity, natural gas, and oil. Distribution is regulated at state level.
  Electricity: The electricity market comprises regional transmission organisations (RTO) or independent system operators (ISO), and a some vertically integrated distribution operators and suppliers. Drivers and investment requirements vary across the states due to the scale of the system. Since the 2003 Northeast Blackout, and to better integrate intermittent renewables, the FERC has initiated reforms to improve system reliability and flexibility. There is a strong focus on resilience, in particular from natural disasters.
  Gas: With the exploitation of low cost shale gas and a rapid transition from importer to exporter, policy is promoting a shift to gas for generation and export.
  Heat networks: Although there is a strong history of heat networks, and around 600 schemes in operation (typically the NE, and western coast cities), policy is primarily aimed indirectly though efficiency improvements from cogeneration or waste heat. The Local Energy Supply and Resilience Act (LESRA) 2015 does provide technical support and loans for schemes including heat networks.
  Infrastructure requirements
  Electricity networks: Significant growth in intermittent renewables and a reduction in coal generation has promoted investment in smart network infrastructure, demand response and energy storage to promote reliability and stability. Network replacement and refurbishment requirements are significant due to the age of the system, and new expansion requirements are estimated at 260,000 km of transmission and 1.3 million km of distribution network.
  Natural gas: Gas production has increased 33% between 2005 and 2013, and demand is predicted by some to increase by another 20% – 30% by 2030. Expansion and extension of existing networks is required and reconfiguration due to a shift in production from the Gulf of Mexico to shale gas areas. Investment is also being made into liquefaction facilities, and a recent target is for reduction of methane leaks from production and distribution.
  Heat networks: Increased interest in heat networks due to resilience and efficiency combined with replacement and refurbishment of older steam systems means there may be increased activity, although very small in comparison with gas and electricity.
Scottish export capability and experience
Moderate to high in some sectors
Electricity
Power electronics capability from companies such as BAE and Instrument Transformed could contribute to network replacement and expansion, with a focus on resilience.
ICT and digital capability will be important in the smart network transition, with potential for ICT providers (eg Boston Networks), consultancy skills (eg Open Grid Systems), and service providers (e.g Flexitricity). Data analytics is also likely to be a target sector to support business offerings and efficiency.
Gas
Scotland has strong expertise in gas infrastructure which could be applied to the rapidly expanding US gas system. Companies such as Energy Assets could provide a range of engineering and monitoring services. Expansion of the network could provide opportunities for companies such as Energetics.
Heat, Hydrogen, and EVs
Limited capability identified in Scotland, and therefore limited export potential
Ease of doing business
  The US offers an extremely supportive environment for business investment across all EODB metrics.
  Language and culture are also unlikely to present problems.
  The US remains the number 1 export market overall for Scotland – around 14% of overall Scottish exports.
  A major issue encountered in our research was in obtaining work visas. Costs can be prohibitive and adequate help is hard to find.
  Trade fairs / conferences are natural ways into the market, with knowledgeable attendees offering opportunities for potential sales and/or partnership.
  Establishing a presence is not challenging for companies with in-demand solutions, but it can take time.

## Slide 26: United States (2)
Competitive environment
  The US energy systems market is very mature with a strong base of existing expertise at the research and commercial stages. There are a large number of multidisciplinary companies including for example GE, Siemens, Jacobs, and AECOM who are active in the energy systems and smart infrastructure sector. Many of these larger companies have some Scottish presence, and the export of Scottish resource will be challenging.
  The US has strong expertise in ICT, communications, and sensors / controls / security, with a centre of expertise in California. Both in the US, and from the Scotland analysis, large parts of this expertise may be from outside the energy sector, but with suitable applications. Scottish expertise may therefore be more competitive against these non-energy US companies.
  Scotland's expertise in gas networks may also have a competitive edge, particularly if focussed in higher value areas. Of interest at present is expertise in leak reduction at both production, transmission, and distributed stages.
  The focus of activity in California and North East due to technology and resilience drivers provides a potential focus for Scottish export capability, but with some increased competition.
Economic growth and energy demand
Economic: GDP remains strong and steadily rising in Germany. The European commission is predicting a year on year rise of around 1.7% until 2017. In the longer term, the OCED long term forecast expected growth to decline
Energy: The US has the second largest demand of energy after China, although growth is expected to be low at around 0.6% CAAGR. Electricity growth is predicted at 0.6% CAAGR and gas by 0.4% CAAGR (IEA estimates).
The US is expected to see a growth of ~13% CAAGR for use in EVs, and additional increases with electrification of heat using HPs.
Around $20bn per year investment in gas networks up to 2035 predicted for new pipelines and expansion of existing pipelines.
The market for methane reduction is expected to be ~ $500million p.a, and provides a net benefit through gas saving.
Electricity
Gas
Smart infrastructure
Estimates for investment in electricity transmission and distribution infrastructure are approx. $35bn per year or $500bn cumulative by 2035. The age of the US infrastructure means that investment is required for both replacement of existing systems and in technologies to meet the needs of a smarter more flexible grid alongside grid expansion.
Increased renewable generation through the RPS and regulation aimed at promoting ancillary services such as frequency control is creating a strong market in some ISOs for network investment. In the PJM (Pennsylvania, New Jersey, and Maryland) ISO, this has resulted in a market of $200million per year for providing grid regulation services, stimulating investment in monitoring and sensing, and provision of flexible control through for example batteries. The US wide market for these services could be ~ $1bn.
General
US market for energy infrastructure is similar in overall size to the EU, although can vary significantly by state due to different drivers and the mix of state and private ownership
Market size and opportunity.
The US Smart Grid Programme, set up as a result of the Recovery Act, is investing $4.5bn in grants and demonstration projects in all aspects of smart grid provision.
The US DoE (Department of Energy) highlights the need for smart grid investment with Customers (metering), transmission and distribution elements of the network. A key area of focus is on remote / automated switching and control, and the digital communications and monitoring systems. Current value of smart network investment is ~ $3billion p.a. and the full implementation of a smart grid across the US is expected to be ~ $400billion. The DoE targets reductions in outage and reserve margin costs and reduced connection costs though implementing smarter grids.
The DoE have identified that data analytics will be worth around $0.9 billion by 2016 to improve operational efficiencies and business offerings.
$1,100 bn investment by 2035
$35 bn p.a investment in infrastructure & ~ $1bn annual market for ancillary services
$20 bn p.a investment in infrastructure & $0.5bn p.a. for methane reduction
$4.5bn in demonstration projects, $3bn p.a current with potential of $400bn total. ~£1bn data analytics

## Slide 27: China (1)
Delta-ee view:
China is the world’s largest market for electricity infrastructure development and smart grid technologies. Investment needs for gas and DH networks are also high. Specific opportunities exist in microgrids, super high voltage networks and DH efficiency and optimisation systems.
There are, however, relatively high barriers to market entry. Exporters therefore face multiple, but not insurmountable, challenges.
Market drivers
Overview
  We expect several clusters and sub-sectors to expand strongly. For example:
    High (and super high) voltage transmission infrastructure development
    Network management technologies and applications
    Deployment of battery storage and EVs is likely to accelerate strongly.
  Policy & regulatory environment - air quality concerns drive national targets
  General: The National Development and Reform Commission (NDRC) plays a critical central planning role in all energy markets. Energy efficiency is a new priority: the 13th 5 year plan (March 2016) calls for an energy intensity cut of 15%.
  Electricity: Coal dominates, but (driven by air quality concerns) gas, nuclear, renewables (including renewables / storage microgrids) are making fast inroads.
  Gas: State policy will continue to drive aggressive growth in natural gas demand.
  Infrastructure requirements – high rates of new build and refurbishment
  Electricity:
    In March 2016, new agreements with neighbouring countries will lead to the beginnings of a cross border energy super grid based on the ultra-high voltage technology. China is likely now the world leader in grid technology (eg the Hong Kong system is among the most reliable in the world (99.999%).
    In 2015/16, tenders for around 0.5 bn new smart meters have been contracted – China will soon account for around one quarter of this global market.
  Natural gas:
    Gas demand is forecast to grow by 5-10% pa for decades, requiring new T&D infrastructure for power plants, CHP and heating.
    Domestic production will not keep up with demand growth (>30% import dependency), so LNG terminal and infrastructure expansion is now taking off.
    Shale gas reserves are the highest in the world; in 2016 the NDRC renewed plans for its recovery. We expect China to become a major global producer
  Heat networks:
    Heat supply from DH has more than doubled since 2000 and expansion will continue through CHP plants. The key challenge for the sector is system efficiency and optimisation.
Scottish export capability and experience
Moderate to high in some sectors
Electricity
There are several growth opportunities, including:
  HV and super-HV network expansion, where we believe Scotland will struggle to make inroads.
  Smart meter / city / network trials and deployment, where we believe leading Scottish academic capability (for example the University of Strathclyde) in power electronics and data analytics can contribute.
Gas
As with the US opportunity, Scotland has significant expertise in gas infrastructure which could be applied to the rapidly expanding Chinese gas and LNG terminal system.
Heat, Hydrogen, and EVs
Limited capability identified in Scotland, and therefore limited export potential
Ease of doing business
  This is the weakest link - exporters face multiple challenges.
  China scores poorly for business investment across all key EODB metrics. The country is fraught with risk for exporters.
  The electricity market is non-transparent: incumbent suppliers are favoured; government intervention to support local firms is common.
  Local partnerships are key to success.
  It is likely that a co-ordinated effort to support Scottish commercial involvement in major projects, like smart cities, will be critical.

## Slide 28: China (2)
Competitive environment
  Despite the substantial investments being made in grid construction, modernisation and smart metering, the market for Scottish / UK firms is limited by the challenge of local supply chains and inter-operability issues, particularly in the distribution networks.
  With this important context, the potential niche opportunities are likely to include:
    Continued opportunities in electricity transmission and distribution infrastructure, particularly high voltage transmission.
    Fast increasing demand for network management technologies and applications following modernisation of the country’s vast number of substations.
    Microgrids, as the country rapidly accelerates their trials and commercial deployment.
    District heating system monitoring, control and optimisation systems.
Economic growth and energy demand
Economic: The foundation of the attractiveness of the Chinese market is its economic growth performance. While this continues, so will the opportunity. GDP growth rates remain among the highest in the world despite concerns about slowdowns – currently 6.9% pa, falling to 6.1% in 2020.
Energy: China has the highest energy demand in the world, but it is successfully delinking GDP growth with energy demand growth, which is forecast to grow at 1-3% pa to 2030.
The IEA forecasts around $10bn per year of investment need in gas infrastructure up to 2035. Most of this will be new pipeline development, both transmission and distribution, plus new investment in LNG terminals.
Electricity
Gas
Smart infrastructure
Estimates for investment in T&D infrastructure are approximately $1.7 tn cumulative by 2035. By that year, around 1m km of new transmission lines (about one third of the global total) and 5.4m km of new distribution lines will need to be added. Refurbishment requirements are additional to this.
Microgrid development is an emerging opportunity, with one of the country’s first state-funded PV/storage project operating from January 2016. One non UK company providing software and controls believes this market is “positioned for exponential growth.”
Much of the investment need reflects the challenge of connecting major hydro and wind resources to numerous and distant population centres.
General
The IEA estimates that the total investment requirements in natural gas systems ($209 bn) and electricity systems ($1,717 bn) will be around $2.0 tn by 2035.
China, like the US, is a highly federalised country. We believe the main energy system opportunities lie in the main high growth cities (including Guiyang and Zhuzhou) and provinces (including Chongqing and Guangdong)
Market size and opportunity.
Several ‘Smart city’ trials are underway, including microgrid development. One of the biggest is in Tianjin, and includes an EV-charging station for buses, an optical fibre communication network, a 4.5 MW wind farm and an energy storage system (15 kW for 4 h).
Investment in smart metering was ~$1.4 bn in 2015 and will reach ~$2.9 bn this year and, possibly, $20bn in 2020. ToU pricing will be introduced in 2017 to the residential sector – well ahead of many European countries.
~$2,000 bn investment required by 2035 in electricity and gas system infrastructure
~$85 bn pa investment in new and upgraded network infrastructure
$10 bn pa investment in infrastructure
$0.5 bn - $1 tn of spend in research, demonstration and deployment of smart systems in next 20 years.

## Slide 29: Japan (1)
Delta-ee view:
Japan has been identified as the 5th most attractive market for energy infrastructure based on the multi-criteria analysis. The country is currently undergoing significant changes though market liberalisation, aimed at improving resilience, reducing CO2 emissions, and encouraging a competitive supply market.
There are existing trading links between Scotland and Japan, but entering the Japanese market will require local presence and long term investment.
Key focus areas are around network efficiency and smart grids, and in facilitating the industry with the transition and opportunities presented by a liberalised market
Market drivers
Overview
  Japan is currently undergoing liberalisation of its energy markets, breaking up the existing regional vertically integrated businesses into separate supply, transmission, distribution and retail businesses. This is to increase resilience in the system and improve competition.
  The electricity retail market was opened up to domestic customers in 2016 with gas markets following in 2017. Full open market liberalisation of transmission and distribution systems is expected in 2020.
  Policy & regulatory environment
  Electricity: The three key drivers for the electricity network are recovering investments in infrastructure upgrades for renewable generation integration, enabling nuclear to be competitive against other sources (Japan has low natural resources and is heavily reliant on nuclear generation), and improving the resilience by promoting cross-regional supply. The Fukushima disaster in 2011 highlighted the limitations of the vertical integration and regional systems approach with shortages and high prices.
  Gas: The gas market is being similarly liberalised in 2017 with splitting of the existing major gas network operators and introduction of an open retail market. A key driver is again resilience in light of natural disasters, and developing a competitive supply market.
  Heat networks: There are ~ 140 district heating/cooling schemes in Japan, although the Area Energy Networks policy aimed at improving resilience and reduction CO2 emissions aims to increase the uptake of smaller networks, often using existing waste heat sources.
  Infrastructure requirements
  Electricity networks: Targets for increased renewable electricity generation to reduce Japan’s reliance on imported fossil fuels combined with the need to develop a resilient network mean that there is a strong focus on regional network integration, and smart demand management. Japan is one of the worlds largest markets for smart grid technology and they are central to its plans for improved efficiency, increased resilience, and reduction in CO2 emissions.
  Natural gas: The integration of the many existing large and city networks to improve regional connectivity and resilience is a strong focus for infrastructure development, alongside improving LNG import facilities. Japan has a long term vision for natural gas use and is the worlds leading market for mCHP systems which provide a high efficiency use.
  Heat networks: Whilst there are policies aimed at increasing the use of heat networks, the low installed capacity combined with strong competition from mCHP and electric system means that the overall market is likely to remain small.
Scottish export capability and experience
Moderate to high in some sectors
Markets
The most promising sector is in providing market advice and expertise to assist the development of the liberalised market and exploitation of new services. Consultancies such as Delta-ee could exploit this.
Electricity
Renewable generation integration is a challenge and Scottish capability in integration and testing could be exported or exploited in Scotland in collaboration with Japanese companies.
ICT and digital capability will be important in the smart network transition. Due to local competition, Scottish expertise is most appropriate from companies with consultancy and service delivery experience such as Open Grid Systems and Flexitricity.
Gas
Scottish gas network capability may contribute to the integration of the separate networks, but this is unlikely to be a niche market.
Heat, Hydrogen, and EVs
Limited capability identified in Scotland, and therefore limited export potential
Ease of doing business
Japan is in theory a good country to trade with, but the practicalities of needing local presence and building relationships over time mean that significant investment is required.
Japan is 34th in the global EODB rankings suggesting that trade should be relatively straightforward, but scores poorly for starting businesses and tax payments.
Japan is currently Scotland's 17th biggest export market (around £400m pa) and is represented by the SDI.
Entering the Japanese market can be challenging and requires significant investment. It will be important for companies wishing to trade and do business in Japan to have Japanese presence, including local Japanese speaking representatives. It is also likely that relationships will take a long period to build up, potentially a small number of years.

## Slide 30: Japan (2)
Competitive environment
  The Japanese energy systems market is large, but combined with the relative difficulty in entering the country for trade, it has a large number of well established and highly respected companies active in the energy sector. These include companies such as Hitachi, Toshiba, and Mitsubishi. It will be difficult to conduct B2B with these companies or compete.
  Alongside the saturated competition, regulation and approvals processes in Japan mean that new technology and systems can take a long time to enter the market and require significant investment.
  Whilst Japan has significant capability in the technology and systems sectors, de-regulation presents many opportunities for companies who are willing to invest in the market. The shape of these opportunities will partially depend on the outcome of the deregulation process, but it is likely that there will be many new (and smaller) companies active in energy generation, distribution and supply, with the need to develop innovative services and smart grid measures (including ancillary services around arbitrage, storage, and DSR). A focus for Scottish expertise could therefore be around companies experience in exploiting the opportunities of liberalised energy markets, such as Flexitricity.
Economic growth and energy demand
Economic: Japan economy has stagnated and the country has exhibited very low growth since the 1990s and has the highest debt rate in the OECD. Growth is expected to be below 0.5% in 2017, although there is uncertainty over long term growth due to the significant structural and economic reforms currently being made.
Energy: Growth is expected to be very low at around 0.2% CAAGR. This is aligned with both low economic growth, but also a strong emphasis on energy efficiency due to the high costs and limited natural resources.
Strategic transmission projects are planned for integrating the existing regional networks and improving resilience.
IEA estimates are for US$43m of investment by 2035, or around US$2bn per year.
Electricity
Gas
Smart infrastructure
Despite the need for large scale transmission improvements to improve resilience and connect together existing networks, around 87% of investment required is in the distribution system. This will provide increased resilience at a local level, provide for greater integration of renewable energy sources, and include the investment in smart networks and systems.
US$33bn is prediction for the transmission system improvements.
General
Total investment in gas and electricity transmission and distribution systems is estimated at around €275bn by 2035 based on IEA infrastructure investment forecasts.
Market size and opportunity.
METI (Ministry of Energy, Trade, and Industry) budgeted around US$3.8 bn in 2014, aimed at energy efficiency and demand response, including smart grids infrastructure. It is expected that alongside deregulation, the introduction of different tariff mechanisms and smart meters will stimulate the market for smart grid systems and demand response measures. METI is also investing in microgrid demonstration projects which improve resilience, integration of EVs and renewables, and electricity storage.
The key challenges which smart infrastructure can meet are distributed energy management systems for integration of renewable sources, demand side response measures and data management to improve efficiencies, and the need for resilience through microgrids, distributed generation, and storage.
US$275 bn investment by 2035
US$232 bn investment by 2035 across electricity transmission and distribution
US$43 bn investment by 2035
The worlds second largest market for ICT smart networks infrastructure

## Slide 31: Canada
Delta-ee view:
The key feature of the power system is its aging but extensive infrastructure and high exposure to damaging climate events. Substantial investment is required in Alberta and Ontario. A surge in intermittent renewables is now likely, leading to growing system challenges.
Gas networks are expanding rapidly based on the country’s role as a producer, but district heat is not widely deployed.
Market drivers
Overview
  Canada is one of the most energy-intensive countries among IEA members. There is a very high hydro content in power production, providing high system flexibility.
  Its power networks are extensive and old, its need for gas infrastructure is high,
  Policy & regulatory environment
  Overall policy is increasingly driven by climate change targets.
  In 2010, the Government announced its target of 90% emission-free electricity by 2020. New PM Justin Trudeau has recently pledged a commitment to prioritise renewable energy, including wind and PV.
  Infrastructure requirements/market size/opportunity
  Electricity system:
  There is around 133 GW of installed electricity generation capacity. This is currently dominated by hydropower (approximately 77 GW), providing high system stability and flexibility - but there is a growing share of PV and wind.
  System modernisation through smart grid developments and ICT investment is underway, most notably through demand response and energy management programmes.
  For example, around 3m customers in Ontario can now access smart metering data through a “Green Button” format that enables remote energy management and is creating new needs for new system management applications.
  Natural gas:
  Canada is a major gas producer and exporter. National demand is relatively small and is very province-specific. The main needs are around supporting and supplying the major new investments in transmission and export infrastructure.
  Heat/cooling networks:
  Most DH demand is in Ontario and Quebec, which have cold winters and very high heating demand. But we do not expect any significant expansion in deployment, with heat demand generally level and likely, in future, to be met by high efficiency gas, biogas and electric appliances.
Ease of doing business/competitive environment
  Cultural and commercial linkages are strong. Scottish companies should feel very comfortable in the Canadian business environment.
  Canada ranks 14th in global league tables of ease of doing business.
  However, we expect that the main challenge will be strong competition from US, Asian and Canadian players across all relevant sectors. It is likely to be worthwhile identifying niche opportunities through detailed province-by-province research.
Scottish export capability and experience
Electricity
The principal needs are for:
Modernisation, refurbishment and maintenance of traditional T&D systems.
Growing needs for support of smart infrastructure and management based on expanding renewable and distributed deployment.
Gas
The main need is for support for the extensive transmission and LNG infrastructure development, mainly in the west of the country to serve Asian markets. Scotland has solid expertise in some of these applications.

## Slide 32: India
Delta-ee view:
India has 18% of the world’s population but uses only 6% of the world’s primary energy. Energy demand, and thus opportunities, are surging - consumption has doubled since 2000 and will likely do so again within 20-25 years.
The key feature of the electricity system is its dysfunctional performance – frequent outages and system failures, which are daily in many States.
Market drivers
Overview
  Energy demand will double by 2040 at the latest, but investment is constrained by inefficient regulation and corruption. In the electricity sector, this leads to high demand for on-site distributed systems, often renewable and not inter-connected.
  Gas penetration is low currently but we expect will grow rapidly in coastal regions, slowly displacing coal in power generation.
  Policy & regulatory environment
  A strong long-term push for renewable energy, notably solar and wind power. This is motivated by the target to reach 175 GW of installed renewable capacity (excluding large hydro) by 2022.
  Priorities include village electrification and the connection of households lacking electricity supply.
  Infrastructure requirements/market size/opportunity
  Electricity networks:
  The national transmission system suffers from high losses and theft – and consequently needs substantial investment to address these problems.
  Micro-grid and mini-grid developments are becoming more common and we expect this to continue. These are often community based and funded through “fee for service” models by banks and private equity.
  Natural gas:
  Gas makes up a relatively small but growing part of the energy mix and the infrastructure needs are nowhere near as high as for electricity – but will nonetheless be high for new T&D infrastructure and regasification plants (eg the Turkmenistan–Afghanistan–Pakistan–India Pipeline (TAPI)).
  Heating / cooling networks:
  Heat demand in India is relatively low – the key challenge is cooling which is currently based on electric AC systems that put high demands on the power system in summer.
Ease of doing business/competitive environment
  While the commercial opportunity is likely to be higher than most countries, India ranks relatively very low in terms of ease of doing business.
  Commercial and legal transparency is generally low and any major deals will often depend greatly on local contacts and agents.
  The competitive environment will be mixed. India is notable for IT / ICT expertise in depth. Other system needs will largely have to be met from foreign expertise, eg US, China, Europe etc.
Scottish export capability and experience
Electricity
Electricity system needs, and potentially the opportunities for Scotland, are high.
Construction of conventional new T&D systems, including super-grid infrastructure.
Reduction in system losses and theft through system refurbishment and new metering systems.
The development of micro-grids and mini-grids requiring sophisticated controls, ICT etc.
The management of summer peaks created by high cooling needs.
The integration of large- and small-scale renewables into the system.
Gas
The main needs are for support for new transmission and regasification infrastructure. Demand will mainly be for large power plant and industrial sites, so distribution infrastructure development is likely to be low.

## Slide 33: Singapore
Delta-ee view:
The grid works well but demand continues to grow. The key emerging challenge is the integration of growing amounts of distributed PV installations.
Overall, the opportunity for Scottish exporters is likely to be relatively low here given the small size of the overall market
Market drivers
Overview
  Singapore is a very small city state and one of Asia’s few modernised economies.
  Economic and energy growth rates are relatively modest by Asian standards - energy demand is likely to double by 2050 at the earliest (and maybe never will).
  The main energy system challenge relates to the integration of distributed solar PV into its efficient running grid system.
  Policy & regulatory environment
  Singapore has committed to reducing carbon emissions by 36% by 2030 and has a target of improving energy intensity by 35% - challenging goals.
  To achieve this, solar PV could increase 7-fold by 2020, with potentially high impacts on the efficiency of grid operation.
  Infrastructure requirements/market size/opportunity
  Electricity networks:
  Today, Singapore has a highly reliable grid and very limited amount of intermittent renewables.
  This will change dramatically through a shift away from flexible gas generation to intermittent PV.
  A further challenge to the grid infrastructure is the parallel push towards electrification of transport and high mandated EV deployment.
  Natural gas:
  We do not expect major challenges to the gas infrastructure system between now and 2030. The country wants to reduce dependence on gas.
  Heating / cooling:
  Even more so than India, the focus is on cooling rather than heating.
  District cooling (a sector where Scotland has more or less no capability or experience) is operated in the Marina Bay District, with 217 MW of installed capacity, with the potential for some additions by 2020.
Ease of doing business/competitive environment
  Singapore is number 1 in the international ‘ease of doing business’ rankings. Scottish companies should have no trouble here.
  However, the competitive environment will be tougher. It is regarded as an international hub, with many companies setting up a regional office in Singapore and using it as their gateway to the rest of SE Asia
  Many potential competitors are located here. These include smart grid solutions provider Omnetric and a joint venture by Accenture and Siemens. The Norwegian energy advisory firm DNV GL will launch a testing centre for communications equipment used in electricity grids, its first such facility outside Europe.
  This is welcomed by the countries national technology agency who have the aim of putting Singapore on the map for global tech talent as part of their smart nation plan.
Scottish export capability and experience
Electricity
The single challenge which Scottish companies can help address relates to the integration and management of highly distributed PV into an already efficient system. This potentially provides a role for, for example, technical consultancy, advanced metering and power electronics capability, areas of moderate strength for Scotland.
Gas, heating & cooling
We do not expect there to be sufficient need to attract any relevant Scottish Export capability.

## Slide 34: Routes to market
France | Engaging with the major energy systems players (EDF and Engie) and their subsidiaries will be an important element of entering the French market, including using their UK based operations for entry. France has a relatively open market and there are opportunities for Scottish companies to work with other multinationals (eg Alcatel), and become members of trade associations and innovation networks. | 
Germany | The public are very brand loyal to German companies and the inability to speak Germany will hinder success. Partnering with a Germany company is a realistic way to enter the market. Municipal & local utilities (Stadtwerke) have a smaller reach but are able to innovate. Much of the current change in the energy system is being driven from the bottom up rather than top down. For example, Stadtwerke Schwäbisch Hall are a forward-looking, medium energy service company and additionally, attending the Stadtwerke Renewable Energy Conference may prove useful. | 
United States | Devise strategies to target the fragmented market and drivers. This could include targeting specific programmes such as New York’s Energy Highway, and Reforming the Energy Vision (REV) schemes. Other less advanced states could also provide greater opportunities for Scottish expertise where the market is less competitive from US incumbents. The DoE’s Eastern Renewable Generation Integration Study, and the Western Wind and Solar Integration Study will help identify areas of need. | 
China | A ‘Low Carbon Technology’ MoU exists between the Scottish Government and the Hong Kong Science & Technology Parks Corporation. This was brokered by SDI and one of the expected benefits is a source of commercial and export assistance for companies wishing to access the Chinese market. Chinese firms already have high market shares in the wider smart grid sector, supplying most products and services at prices below international norms. | 
Japan | The Japanese route to market is very challenging due to different cultures and ways of doing business. It will be essential to have a presence in Japan or very strong existing links, combined with Japanese speaking representatives. It is likely that gaining entry will require investment in time and money. Liberalisation of the energy market will result in new niche companies and offerings and these may offer the easiest route into the market, where there is no local capability. | 
India | India can be challenging to do business and it will be important to demonstrate similar experience in India or similar countries and conditions to be successful. Getting financing secured and guaranteed for projects is a large barrier for doing business in India. If infrastructure projects bids already include partly guaranteed funding through government schemes, private financial institutions or private/public partnerships, this would be competitive advantage. | 
Canada | Canada is a mature market with many companies offering sophisticated solutions. Although it has a huge market, certain opportunities such as offering smart meters are shrinking. International companies entering this market will need to offer innovative products and solutions to compete. | 
Singapore | Singapore is bureaucratic in its nature and because population density is so high - it is hugely important that the right permits are acquired and meticulously applied for. It could be worthwhile to work with a law firm in Singapore who can advise on these matters. It would be beneficial to work with Singapore firm that operates internationally who will be aware of this complex market. | 
Routes to market will require careful consideration:
General
The energy systems market is relatively complex with a large number of players in all countries. The mix of private and public companies will require different approaches.
Larger countries, (e.g. US) have a myriad of structures and regulations resulting in different drivers. Careful analysis of entry routes at a regional / local level is required.
Many countries have a mix of large / national, and small / local systems operators, and it may be easier to identify some niche small market players where there is less likely to be competition to gain entry.
In all cases, a key aim should be to explore existing links via SDI, and at a commercial level.
Electricity
Prime routes to market are via distribution and transmission systems operators, and engaging in research and trials of innovative smart grid technology, potentially partnering with local organisations.
Identifying new and innovative smart grid / services companies could provide a route which by-passes the large incumbent systems companies.
Gas
Gas opportunities lie more in the reinforcement and addition of new transmission and distribution infrastructure. Network companies will therefore be the prime target.
Innovative smart grid / services companies could also provide openings, particularly when dealing with more than one energy vector.
Heat
The heat market is much more diverse across the countries, and the routes to market will be correspondingly varied. Countries with an appreciable heat network capacity have associations which may provide an initial entry point.

## Slide 35: Snapshots of other relevant countries
Africa:
A number of Southern African countries have HVDC links installed owing to their reliability benefits over AC transmission. Namibia and Democratic Republic of Congo have internal links and there is an interconnector delivering power from South Africa to southern Mozambique. Significant potential for expansion of the African transmission network with increasing funding from organisations such as the World Bank.
Developing countries such as Botswana demonstrate increasing interest improved electrical network planning and operation and are keen to adopt innovative but proven technologies. In some cases there is development bank funding for schemes aiming to improve network performance. A roll-out of smart meters was recently piloted on distribution networks in some Botswanan cities to allow better management of customer loads and to enable automatic (dis)connection of customers.
Denmark:
World leader in generating intermittent renewable electricity through windfarms.
World leader in heat networks and are transitioning to generating heat from electric heat pumps rather than gas. Smart 4th generation district heating will be key to managing energy demand/supply effectively.
Tjaereborg small scale demonstration onshore wind farm in Denmark which was connected to the grid via a 4.3km 9 kV point to point HVDC Light link. Project completed in 2000 to examine HVDC’s capability to support offshore wind deployment (expected to be up to 4 GW by 2030).
South Korea:
One of the largest and most comprehensive smart grid / future energy system projects is being carried out on Jeju Island in South Korea. The project is a collaboration between the Government (local and national), Korea Electric Power Corporation (KEPCO), Korean Smartgrid Institute, research institutes, academia and industry leading vendors. The primary driver for the deployment of smart technologies in Korea is to meet the carbon reduction targets and provide the platform for a low carbon, green growth economy. Building Korean capabilities for products, services and exports is no doubt a key driver for the government.
The Jeju project includes all aspects of a future energy system including many the challenges outlined in section 2 of this report. There are five sections to the project:
Smart Power Grid System – Smart and interoperable grid system with automatic grid protection and recovery
Smart Place System - Homes, building and factories with two communication system with the utility with automatic energy management to improve energy efficiency
Smart Transportation System – Intelligent charging infrastructure for an electric vehicle service system
Smart Renewables – large scale renewable power generation infrastructure (solar, wind, biomass) integrated with large scale storage
Smart Electricity Services – Development of commercial systems, pricing schemes and consumer peer to peer trading.
Ireland:
Ireland initiated (in 2011) a wide ranging programme to examine the implications of meeting its renewable targets. The DS3 programme “Delivering a Secure Sustainable Electricity System’’ brings together key industry participants (transmission and distribution companies, regulators, system operators (EirGrid and SONI) and generators) to develop solutions to operating the power system in a secure, reliable and economic way. The programme consists of 11 work streams within three pillars:
Performance Monitoring: Performance Monitoring, System Services, Demand Side Management, Grid Code & ROCOF
System Policies Renewable Data, Voltage, Frequency
System Tools Wind Security Assessment, Tool Control Centre Tools, Model Development Studies
Brazil:
In terms of emerging/developing markets, Brazil added 2.8 GW of wind in 2014 (4th largest market for new installed wind farms) and would be a prime candidate country to which networks ancillary services could be exported.

## Slide 36: The eight Scorecards: summary of opportunity
Policy and regulatory environment |  |  |  |  |  |  |  | 
Infrastructure requirements |  |  |  |  |  |  |  | 
Scottish capability match |  |  |  |  |  |  |  | 
Economic growth and energy demand |  |  |  |  |  |  |  | 
Competitive environment |  |  |  |  |  |  |  | 
Ease of doing business |  |  |  |  |  |  |  | 
Market size |  |  |  |  |  |  |  | 
Summary of the market opportunities for each cluster, as described in each slide.
High
Low
Key

## Slide 37: Conclusions (contents slide)
Executive Summary………………..………………………………………………………………………………………3
Introduction and methodology………………………..…………………………………………………………………6
  Introduction
  Methodology overview
Review of Scottish capability………………………………………………………………………………………….…8
  Identification of key sub sectors
  Sub sector profile cards
  Gap analysis
  Summary of capability
International market analysis………………………………….…………………………………………….…………..19
  Profiling of international markets
  Shortlisted country score cards
  Summary of international market opportunities and ratings
Conclusions………………………………….…………………………………………………………..…….………….. 37
  Conclusions
Annexes……………………………………………………………….…………………………………………….…….…39
  Mapping of Scottish energy systems capability

## Slide 38: Four main conclusions
This report indicates that there is a limited energy systems capability in Scotland, but there are likely extensive potential international opportunities where new markets could be exploited to help growth in this industry. Our key conclusions are:
1. Energy systems represent a diverse and nebulous sector which requires segmentation
The wide range of activities and needs of the “energy systems” sector will require Scottish Enterprise to develop specific activity clusters and support schemes for these.
The sector can be broadly split into the more “traditional” networks activities, and new / innovative support services and systems to facilitate smarter more integrated systems. The global market has needs for both.
2. Scottish capability exists but is limited, and focussed in certain areas
Scottish expertise in energy systems is largely focussed around the knowledge (consultancy) skills, and the more innovative sectors around ICT and digital technology and systems, suggesting a focus on exploiting smart network markets.
Most companies are active in the electricity sector, a smaller number in gas, and very limited number in heat networks. The ICT / digital profile suggests that most market potential will lie in electricity systems, although there is a significant capability in gas systems, particularly towards the upstream end.
3. We have identified what will likely be the top global market opportunities for Scotland.
Key factors promoting market opportunities are growth in energy demand, changing sources of energy (in particular a shift from flexible fossil generation to intermittent renewable generation), increased resilience / security, and improved efficiency.
The opportunities are largely around network reinforcement / expansion (more suited to the “traditional” capabilities), and the adoption of smarter systems and operation, requiring extensive ICT / digital capabilities.
The emergence of smart grids is new in all markets, and there are many potential niches around how these systems are used and what structures can be adopted to extract value. Japan is a prime example where de-regulation combined with high efficiency requirements will promote a large amount of activity in the development of smart grids and the use of data and smart systems to maximise efficiency.
4. Entering global markets will be challenging and require careful focus
In general, the markets with sufficient potential have high incumbent energy systems industry and capability. There may be niches or competitive advantages (which we have highlighted in the main report) for some companies, but competing will be challenging.
There are a wide range of routes to market, depending on the trading / business environment and culture, the structure of the industry, and regional variations within countries. In general, there are a number of multinationals working across many of the countries and engaging with these may provide a suitable route into a wider range of markets, although country level barriers are likely to remain.
It is likely that entering any of the markets successfully will require a high degree of investment, local presence and deep market knowledge, something which the SDI could help support.

## Slide 39: Annexes (contents slide)
Executive Summary………………..………………………………………………………………………………………3
Introduction and methodology………………………..…………………………………………………………………6
  Introduction
  Methodology overview
Review of Scottish capability………………………………………………………………………………………….…8
  Identification of key sub sectors
  Sub sector profile cards
  Gap analysis
  Summary of capability
International market analysis………………………………….…………………………………………….…………..19
  Profiling of international markets
  Shortlisted country score cards
  Summary of international market opportunities and ratings
Conclusions………………………………….…………………………………………………………..…….………….. 37
  Conclusions
Annexes……………………………………………………………….…………………………………………….…….…39
  Mapping of Scottish energy systems capability
  References

## Slide 40: Definition of sub sectors
Review of companies activities to allocate suitable sub sectors
Optimat dataset provides allocation to sectors used in development of Energy Systems Catapult. These describe the outputs but not activity types and are difficult to cross tabulate with SE sub sectors.
Delta-ee have reviewed individual companies and re-evaluated activities in alliance with the SE sub sectors.
Interpretation of sub sector categories has been required
Sub sector - Products | Interpretation
Power Electronics | Activities around producing and using power electronics equipment for use in electricity distribution and management.
Digital Platforms | The development of platforms which can be used as the basis for linking and controlling different systems, and for the acquisition of data. This may include hardware dedicated to the platform (which may also be included under ICT) and software.
Energy storage solutions | Storage devices which may be used for storing electricity, gas, or heat.
Product design / development / manufacturing | Activity which directly results in the design, development or manufacturing of a product. This could include both hardware and software. Companies in this category will also fall into one of the other products categories corresponding to their particular sub sector. This category helps identifies the types of skill present in the development process for an energy system component.
Information communications technology | Development of hardware and software relating to information communications technology. This includes computing and information storage technology, IT networks, communications networks, and communications providers.
Sensors, control, and security components and algorithms. | Production of ancillary equipment and software which supports smart networks development providing sensing and control services.

## Slide 41: Definition of sub sectors
Sub sector - Services | Interpretation
Consultancy Services | The provision of knowledge based services which support the development of products and projects. Examples include technical consultancy, engineering design services, market analysis, etc.
Engineering services | Third party support to products and projects which assist with the facilitation and operation. Examples include software support and maintenance, engineering maintenance services, energy network operation services, etc.
Project development | Support services for projects to enable delivery of operational schemes. Examples include commercial support, finance expertise and provision, testing and verification services, etc.
Data analytics | The acquisition and analysis of data, including simulations and modelling using data.
Network ancillary services | Provision of services which support the operation of networks though providing ancillary services. Examples include metering and billing services, etc.

## Slide 42: Profiling Scottish expertise in Energy Systems (1)
Profiling of over 170 companies identified by Delta-ee, using in-house resources and research provided by Scottish Enterprise used to allocate energy systems expertise to one or more sub sectors
128 companies were shortlisted with others removed due to no clear energy systems activity, or being supply or demand side.
The sector activity of the remaining companies was counted and profiled using a capability map (below) with green representing high levels of activity and red low levels of activity. Many companies are active across multiple sub sectors.
The profiling database allows characterisation against a range of variables (further details provided in the Annex).
Key sub sectors
Consultancy is the most common activity, suggesting that a large parts of Scottish capability is in providing knowledge which can support the development of energy systems. This consultancy could be active over a number of other sub-sectors, but highlights the nature of the activity.
Product design, development and manufacture is the second most common activity. As for consultancy, this could be activity across a number of other sectors, but demonstrates that there is a strong capability in developing products which can support the delivery of energy systems.
The next defined sub sectors (ICT, digital platforms, and sensors, control, and security) suggest that the main focus areas of activity are in the area of controls and communications. These are products which are central to the development of smart and integrated energy systems.
Key energy systems
Electricity is the dominant energy system with 95% of companies identified being active in this area. Much of the current commercial activity is focussed on development of the electricity system, driven by the significant activity within the electricity sector associated with the transition from centralised to decentralised generation, issues around capacity and supply, and opportunities for smart operation, including storage.
Gas is the second most common sector with 60% of companies providing services. Consultancy, and engineering services are the strongest sub-sectors, and build in the basis of Scotland's expertise in gas an oil exploration and associated services. The focus appears to be more conventional and around infrastructure development and delivery.
Heat has the lowest level of activity at 36% of companies, with most activity in consultancy and some in project development. There is no clear evidence that Scotland has particular strengths in the heat infrastructure energy system, and the majority of companies associated with heat are also active in the gas and electricity energy systems.
Only three companies were identified with electric vehicle infrastructure activity with a focus on storage as part of a wider sector offering. No commercial activity was identified within the hydrogen infrastructure energy system although many of the sub sectors could potentially be applied.

## Slide 43: Activity by Tier
TIER 1: Companies which have displayed a definite smart energy systems capability and are activity engaged (overtly) in innovation
Product design, development and manufacture dominates the activities. This is linked to the specialist activity which will be exhibited by Tier 1 companies actively involved in innovation.
Specialist consultancy services are also identified. These are largely separate from the product development.
There is very little specialist Tier 1 activity in heat and none in EVs.
TIER 2: Companies which are leading players in energy systems, or offer sophisticated or innovation energy systems capability/service
A large part of Tier 2 activity is around ICT and consultancy (possibly combined).
Most activity is in electricity followed by gas.
Power electronics, digital platforms and sensors, controls and security are also important sectors.
TIER 3: Companies are more generic energy systems companies (general network components for example) or are consultancies and other services providers
Consultancy dominates Tier 3 and is likely to include many larger or multi- disciplinary consultancies with broad coverage of the energy, and potentially other, sectors. These could be Scottish based companies, but will also include UK-wide and international consultancies.
Product design, development and manufacture also features strongly, followed by activity in the digital platforms, ICT, power electronics, and sensors, controls, and security sectors.

## Slide 44: Count of capability filtered by HQ in Scotland (28/04/16)
Companies with HQ located in Scotland.
Around 40% of the identified activities are in companies headquartered in Scotland.
The distribution of activity by sub sector is identical to the overall distribution of activity.
No storage, project development, or companies active in EV infrastructure are identified from the sample set.
Companies with HQ located outside of Scotland.
The pattern of activity for companies with head quarters outside of Scotland is the same as for Scottish based companies, and the overall sample.
This suggests that the types of activity by sub sector is not related to the location and base of the company.
Location of a companies HQ could be used as a proxy to identify Scottish specialist activity
The presence of a HQ in Scotland suggests that some core activity associated with the company, and investment benefit, is directly related to Scotland.
If the HQ is located outside of Scotland, it is possible that activities in Scotland are not directly related to the companies identified activities, and that investment is not of prime benefit to Scotland. An example could be a technology developers administration team being based in Scotland, but all high value development activity taking place elsewhere.

## Slide 45: Profiling Scottish expertise in Energy Systems – types of activity (3)
Consultancy
Consultancy is the most common activity across the sample, suggesting that a large parts of Scottish capability is in providing knowledge which can support the development of energy systems.
Consultancy is strongest in engineering services, project development, ICT, digital platforms and sensors/controls/security.
Over half of consultancy companies have HQs located in Scotland, with engineering services and ICT being well represented.
Most consultancy services are in the “small” category (some with a stronger / Tier1/2 focus) followed by the “large” category (predominantly large internationals, and often multidisciplinary). The majority are classed Tier 3.
Projects
Many companies are active in developing energy systems projects. This is through the provision of other supporting services such as consultancy, engineering services, etc.
Just over half of companies active in project development have HQs based in Scotland.
Profiling suggests that the companies are either very focussed, or fairly general with most being either in Tier 1 or Tier 3, and either micro / small, or large. There is very little activity in Tier 2 or from medium sized companies
Products
Many companies are active in developing specific products with most activity in sensors/controls/security, digital platforms, ICT, and power electronics. This suggests that a large part of Scottish capability with producing products is in the hi-tech area providing the types of products which are well suited to providing systems to assist with the integration and interoperability of networks, and enabling smart grid capability.
The majority of companies in this category are classed as small and around three quarters have HQs based in Scotland.

## Slide 46: Academic and Infrastructure activity
Academic activity
Academic research activity appears to be focussed around data analytics. This includes a range of activities around using data for simulation and modelling, and analysing large datasets to examine optimisation of networks and systems.
Virtually all the academic activity is focussed on electricity systems, with 2 activities looking at gas networks, and none at hydrogen or heat networks.
Infrastructure activity
The ‘Infrastructure’ category is mostly focussed around test and innovation centres of expertise.
Core activity is focussed on electricity network systems, with activities based around power electronics and product development.
6 of the infrastructure organisations have some involvement with hydrogen, although it is not clear whether this activity is based around hydrogen infrastructure and systems (including storage), or for the testing of hydrogen fuel cells.

## Slide 47: Count of multi vector companies per capability
Academic activity
There is an even split between activities which are based on one, two, or three energy systems (heat, gas, or electricity)
Consultancy and ICT/digital related activities are predominant and are split across the three systems types.
Other activities are more focussed on one or two system types due to a greater focus on the product development aspect.
Data analytics is mostly focussed on three vectors showing the importance of data analysis in smart integrated systems
by number of activities
by % of activities

## Slide 48: Key references
Distributed Power Service, China Report 2015, Delta-ee.
Distributed Power Service, India Report 2014, Delta-ee.
Distributed Power Service, Canada Report 2016, Delta-ee.
Websites of relevant Scottish energy systems companies.
World Energy Investment Outlook (WEIO), 2014, IEA.
World Energy Outlook (WEO), 2015, IEA.
Renewable Capacity Statistics, 2016, International Renewable Energy Agency.
2016 Top Markets Report: Smart Grids, USA International Trade Administration.
The International Market Opportunity for the Low Carbon Heat Sector, Scottish Enterprise, 2014, Delta-ee.
GRT Gaz 10 year network development plan.
RTE 10 year network development plan.
Smart Grid System Report, 2014, US DoE.
Smart Grid Vision and Roadmap for India, 2013, Ministry of Power Government of India
District Energy Inventory For Canada, 2015, CIEEDAC
Smart Energy Sustainable Future, 2015, Singapore Energy Market Authority
Sustainable Singapore Blueprint, 2015, Singapore Ministry of National Development

## Slide 49: Disclaimer
Copyright © 2016 Delta Energy & Environment Ltd. All rights reserved.
No part of this publication may be reproduced, stored in a retrieval system or transmitted in any form or by any means electronic, mechanical, photocopying, recording or otherwise without the prior written permission of Delta Energy & Environment Ltd.
Unless otherwise credited all diagrams in this report belong to Delta Energy & Environment Ltd.
Important
This document contains confidential and commercially sensitive information. Should any requests for disclosure of information contained in this document be received, we request that we be notified in writing of the details of such request and that we be consulted and our comments taken into account before any action is taken.
Disclaimer
While Delta Energy & Environment Ltd (‘Delta-ee’) considers that the information and opinions given in this work are sound, all parties must rely upon their own skill and judgement when making use of it. Delta-ee does not make any representation or warranty, expressed or implied, as to the accuracy or completeness of the information contained in tie report and assumes no responsibility for the accuracy or completeness of such information. Delta-ee will not assume any liability to anyone for any loss or damage arising out of the provision of this report.
The report contains projections that are based on assumptions that are subject to uncertainties and contingencies. Because of the subjective judgements and inherent uncertainties of projections, and because events frequently do not occur as expected, there can be no assurance that the projections contained herein will be realised and actual events may be different from projected results. Hence the projections supplied are not to be regarded as firm predictions of the future, but rather as illustrations of what might happen. Parties are advised to base their actions of an awareness of the range of such projections, and to note that the range necessarily broadens in the latter years of the projections.